# KODE_Labs_Assignment_Report

### Cover Page

KODE Labs Data Analyst Assignment

Submitted By:

Vrushali Pavitrakar

Date: June 26,2026

## Problems / Tasks

### Problem 1: Hourly temperature performance by occupied mode

- Goal: Analyze how well a device maintained its target temperature on an hourly basis, split by occupied modes (e.g., Occupied vs Unoccupied).

- Key concerns: time-series alignment, handling missing values, resampling/aggregation to hourly windows.

Expansion: Why is it important to monitor or analyze temperature fluctuations when a space is unoccupied? What does the change in temperature tell us when the AHU is not running?

Analysis ->

Objective -> Analyze hourly temperature by occupied mode.

Solution -> 1) Filtered required points from timeseries dataset.

2) As data is not is a proper format so pivoted time series data.

3) Calculated temperature difference:

4) Compared performance during occupied and unoccupied modes.

Findings:- Temperature were better controlled during the occupied phase whereas deviations were higher during unoccupied phases.

Business Insights:- It means there was less operation performed by HVAC Unoccupied temperature are useful for detecting HVAC problems.

### Problem 2: Time to reach setpoint after turning on

- Goal: For events when occupied_mode transitions from Unoccupied → Occupied, compute the time taken for the device (zone temperature) to reach the setpoint.

- Key concerns: event-aligned timeseries, interpolation and missing values, defining “reach” (first time within X°F/°C of setpoint, or sustained for N minutes).

Expansion: For devices that never reached setpoint, estimate the observed heating/cooling rate and project how long it would take to reach the setpoint if the observed rate persisted. Also evaluate whether the setpoint is realistically reachable and explain why it might never reach setpoint.

Analysis :->

Objective :- Calculate the time taken to reach temperature set point after switching from unoccupied to occupied mode.

Solution :- 1) Identified Occupancy changes.

2) Found first timestamp when the temperature was set point.

3) Measured time taken.

Findings:- The device that has been analyzed took about 5 hours to each the set point after occupancy.

Business Insights:-

Possible reasons for delay.

- Undersized HVAC

- Equipment malfunction

- Unfavorable outdoor condition.

### Problem 3: Dashboard design

- Goal: Design 2 dashboards for historical analysis of occupancy.parquet to surface trends, comparisons, and anomalies. The first should be geared for an operator and the second for an executive persona. How would these dashboards differ in terms of metrics, charts, and level of detail?

Expansion: Define and implement a logic to identify outliers and spikes in occupancy data (e.g., sudden unrealistic jumps, values above capacity, negative occupancy). Surface these anomalies appropriately in each dashboard.

Dashboard 1 -> Operator Dashboard

Purpose-> This dashboard will provide facility operators with detail operational visibility.

Key Metrics->

- Total Occupancy

- Traffic

- Peak Occupancy

- Utilization

- Trends

- Anomalies

Dashboard 2 -> Executive Dashboard

Purpose-> Provide high level insights for strategic decision making.

Key Metrics->

- Occupancy Trends

- Space Utilization

- Building Comparisons

- Capacity Analysis

Assumptions :-

- CSV and Parquet datasets contained equivalent information.

- Missing values were excluded from analysis.